## Price Schedule
DHALESHWARI SWITCHGEAR & TRANSFORMER CO. (dummy vendor for the IUT alumni AI Session)
Quotation DST-2026-0442, 16-Sep-2026, against RFQ/ENG/2026/118 (Meghna Knit Composite Ltd.)
Sl | Description | Qty | Unit price (BDT) | Total (BDT)
1 | Transformer 500 kVA 11/0.415 kV Dyn11 ONAN, OCTC +/-2x2.5%, IEC 60076 (see Technical Data sheet) | 1 | 4200000
2 | 11 kV VCB 630 A 20 kA/3 s with numerical relay | 1 | 1950000
3 | LT panel 1000 A ACB, 6 nos MCCB outgoing, MFM | 1 | 1700000
4 | PFI panel 300 kVAR, 6 step, 7% detuned | 1 | 1150000
5 | IP54 kiosk, installation, earthing, T&C | 1 | 1500000
TOTAL (VAT, AIT extra)

## Technical Data
Parameter | Offered
Rating | 500 kVA, 11/0.415 kV, Dyn11, ONAN
Winding material | Aluminium (HV and LV)
No-load loss (guaranteed) | 900 W
Load loss at 75 C (guaranteed) | 5,400 W
Enclosure | IP54, 40 C ambient
Earthing | As per site condition
Type tests | In-house test certificates available on request

## Terms
Delivery | 10 weeks from LC/work order
Warranty | 24 months from commissioning
Service | Service centre at Chattogram (Sholoshahar); response within 48 hours
Validity | 30 days
Payment | As per RFQ
Liquidated damages | 0.5% per week, max 5%
Authorisation | We are the manufacturer